## Slide 1: Outage events in power grids: A large deviations approach
Jayakrishnan Nair (IIT Bombay)
Joost Bosman (CWI, Netherlands)
Bert Zwart (CWI, Netherlands)

## Slide 2
Generation
Load
controllable & reliable
predictable
Constraint: Generation = Demand, meeting physical line limits
Operators make control actions every 5-10 mins to enforce these
Little short-term uncertainty
Can assume grid is `static’ between control instants
Conventional power grid

## Slide 3
Now, renewable energy is exploding
MW
Worldwide
Wind:
MW
Europe
Americas
China
Solar PV:

## Slide 4
Solar PV output
Considerable short-term uncertainty!

## Slide 5
Tomorrow’s power grid
Can no longer assume grid is static in the short-term
Need stochastic models for sources
Probabilistic guarantees: Line constraint violation is a rare event
Large deviations theory to answer design and control
problems in this space?

## Slide 6
This talk
Large deviations -> capacity region characterizations
Temperature of power lines must remain within tight bounds
to avoid sag, loss of tensile strength
Conventional approach: Bound the current
In ‘stochastic’ framework, this is conservative
We demonstrate capacity gain from capturing temperature dynamics

## Slide 7
Single transmission line

## Slide 12
Current

## Slide 13
Temperature

## Slide 14
Temperature

## Slide 15
Temperature

## Slide 16
Capacity gain
Capacity set by current constraint
Capacity set by temp. constraint

## Slide 17
Network of transmission lines

## Slide 18
V,I
Power flow equations highly non-linear
Linearized model: DC approximation

## Slide 19
remain
fixed

## Slide 20
Vector OU case => closed form
=> closed form for capacity region
probability of overflow on some link
Current

## Slide 21
Temperature
probability of overflow on some link

## Slide 22
Temperature
probability of overflow on some link
Vector OU case => closed form lower bound on capacity region

## Slide 23
Under the DC approximation, can characterize capacity regions
for the network
Future work:
1. Validate DC approximation via Monte Carlo
2. Use DC approximation to speed Monte Carlo

## Slide 24: Outage events in power grids: A large deviations approach
Jayakrishnan Nair (IIT Bombay)
Joost Bosman (CWI, Netherlands)
Bert Zwart (CWI, Netherlands)